## BOQ
ANNEXURE - I
SL.NO | UNIT | DESCRIPTION | QTY | RATE |  |  | AMOUNT
|  |  |  | MATERIAL | LABOUR | TOTAL
1 |  | WIRING
1.1 | Metre | Wiring in surface 20 mm x 12 mm unplasticised | UR
PVC casing capping with 3 x 1.5 sq.mm. FRLS copper
wire for light fittings, fans and 6A sockets
1.2 | Metre | Wiring in surface, 25 mm x 20 mm unplasticised casing | UR
capping with 6 x 1.5 sq.mm FRLS copper wires for
light fittings, fans and 6A sockets
1.3 | Metre | Wiring in surface 20 mm x 12 mm unplasticised | 2000
PVC casing capping with 3 x 2.5 sq.mm. FRLS copper
wires for light fittings, fans, sockets, between driver &
fittings / wherever required.
1.4 | Metre | Wiring in surface 25 mm x 20 mm unplasticised | 250
PVC casing capping with 6 x 2.5 sq.mm. FRLS copper
wires for 16A sockets / light points
1.5 | Metre | Wiring in surface PVC casing & capping with 3C-2.5 | 100
copper flexible for 2 nos.6A outlet with 1 switch
1.6 | Each | 6A/16A socket outlet with switch complete with | 10
accessories, modular plate type
Make : WIPRO NORTH-WEST / LEGRAND ARTEOR
1.7 | Each | 6A one way switch, modular type | 20
1.8 | Each | 2 nos. 6A outlet with 1 no. 16A switch | 5
1.9 | Metre | Supply & laying of 3 x 6 sq.mm copper FRLS flex cable | 60
casing capping 32 x 32 mm complete with accessories,
complete (DB incomer)
2 |  | LIGHT FITTINGS
2.1 |  | Installation,testing and commissioning of light fittings
supplied by Museum complete with :
a) Termination & earthing
b) Fixing/mounting accessories
2.1.1 | Each | Wall / beam mounted uplighter light fittings at | 65
ground floor and first floors
2.1.2 | Each | Pedestal mounted flood light for Dome | 24
2.1.3 | Each | Floor mounted column uplighter for second floor | 28
2.1.4 | Each | 600 x 600 mm panel light above staircase (scaffolding | 24
by other agencies)
2.1.5 | Each | Surface mounted fittings for staircase | 10
2.1.6 | Each | Installation of non integrate driver | 24
3 |  | FIRE ALARM SYSTEM
3.1 | Each | Installation of existing smoke detectors | 10
3.2 | Each | Installation of break glass unit | 2
3.3 | Each | Installation of hooters | 2
3.4 | Metre | Wiring of smoke detectors with 2C - 1.5sq.mm. FRLS | 50
armoured cable with clamps, saddles and accessories
3.5 | Each | Cable termination with glands and lugs | 8
4 |  | MISCELLANEOUS
4.1 | Metre | Wiring in surface PVC casing, capping with CAT-6 | 240
UTP cable from existing Patch Panel to I/O
4.2 | Each | CAT-6 outlet complete with accessories for data / voice | 6
4.3 | Metre | Wiring in surface PVC casing & capping with | 150
RG-6 co-axial cable
4.4 | Each | RG-6 TV outlet | 3
4.5 | Metre | 3C- 2.5 sq.mm copper armoured FRLS XLPE cables | 160
with glands & lugs
4.6 | Each | Cable termination for above cable with glands & lugs | 48
5 |  | DISTRIBUTION BOARD
5.1 | Each | Supply, installation,testing and commissioning of | 1
double door, surface mounted DB with following
switchgear
a) 1 no.32A DP RCBO as incomer
b) 6 nos. 10A to 20A SP MCBs
5.2 | Each | Replace existing MCB in DB with new 32A SP MCB | 1
6 |  | REMOVAL
6.1 | Lot | Removal of existing unused wiring with associated | 1
accessories on ground floor
6.2 | Lot | Same as 6.1 but for first floor | 1
6.3 | Each | Removal of existing light fittings / drivers & terminate | 20
the wire with a connector
TOTAL